| Huawei eSight for vROps Plug-in |  |  |
| --- | --- | --- |
| User Guide |  |  |
| V1.2.4 |  |  |
| Issue:04 Date:2021-01-27 |  |  |
|  | Copyright © Copyright Holder. All rights reserved. |  |

|  | Notice |  |  |
| --- | --- | --- | --- |
|  | The information in this document is subject to change without notice. Every effort has been made in the preparation of this document to ensure accuracy of the contents, but all statements, information, and recommendations in this document do not constitute the warranty of any kind, express or implied. |  |

Contents

Preface	1

1 Overview	1-1

2 Installing and Uninstalling the Huawei vROps Plug-in	2-1

2.1 Installing the Huawei vROps Plug-in	2-1

2.2 Uninstalling the Huawei vROps Plug-in	2-2

3 Configuring an eSight Instance	3-1

3.1 Adding an eSight Instance	3-1

3.2 Modifying an eSight Instance	3-4

3.3 Deleting an eSight Instance	3-6

4 Querying Server Information	4-1

4.1 Querying the Server List	4-1

4.2 Querying Component Information	4-3

4.3 Adding a Component View	4-4

4.4 Locating Alert Information	4-10

5 Querying the Huawei vROps Plug-in Version	5-1

6 FAQs	6-1

6.1 Connection Test Failed When Adding an eSight	6-1

7 Getting Help	7-1

7.1 Collecting Fault Information	7-1

7.2 Preparing for Debugging	7-1

7.3 Using Product Documentation	7-2

7.4 Obtaining Technical Support	7-2

Preface

Overview

This guide describes how to install and maintain Huawei vRealize Operations Manager (vROps) plug-in.

Intended Audience

This document is intended for:

Technical support engineers

System maintenance engineers

Symbol Conventions

The symbols that may be found in this document are defined as follows.

| Symbol | Description |
| --- | --- |
|  | Indicates an imminently hazardous situation which, if not avoided, will result in death or serious injury. |
|  | Indicates a potentially hazardous situation which, if not avoided, could result in death or serious injury. |
|  | Indicates a potentially hazardous situation which, if not avoided, may result in minor or moderate injury. |
|  | Indicates a potentially hazardous situation which, if not avoided, could result in equipment damage, data loss, performance deterioration, or unanticipated results. NOTICE is used to address practices not related to personal injury. |
|  | Calls attention to important information, best practices, and tips. NOTE is used to address information not related to personal injury, equipment damage, and environment deterioration. |

Change History

Changes between document issues are cumulative. The latest document issue contains all the changes made in earlier issues.

| Issue | Date | Description |
| --- | --- | --- |
| 04 | 2021-01-27 | Updated 1 Overview. |
| 03 | 2019-05-15 | Updated 4 Querying Server Information. |
| 02 | 2018-06-29 | Updated 1 Overview. |
| 01 | 2021-01-27 | This issue is the first official release. |

Overview

Function Description

The Huawei eSight for vROps plug-in is a plug-in integrated in the vRealize Operations Manager software and used for Huawei server management. By adding eSight, it can monitor Huawei servers. The vRealize Operations Manager UIs of different versions are different. In this document, vRealize Operations Manager 6.6 is used as an example.

You can implement the following functions by using the Huawei eSight for vROps plug-in:

Query server lists.

Query basic information of server components.

Query alarm information and health status of servers.

Supported Servers

Table 1-1 lists the servers supported by the Huawei eSight for vROps plug-in.

Supported servers

| Type | Server |
| --- | --- |
| Rack server | RH1288 V3 |
|  | RH2288H V2 |
|  | RH2288 V3 |
|  | RH2288H V3 |
|  | RH5885 V3 |
|  | RH5885H V3 |
|  | RH8100 V3 |
|  | 1288H V5 |
|  | 2288H V5 |
|  | 2488 V5 |
| Blade server | CH121 V3 |
|  | CH242 V3 |
| Chassis | E9000 (MM910) |
| High-density server | XH321 V3 |
|  | XH620 V3 |
|  | XH622 V3 |
|  | XH628 V3 |
| KunLun server | 9008 |
|  | 9016 |
|  | 9032 |

Installing and Uninstalling the Huawei vROps Plug-in

2.1  Installing the Huawei vROps Plug-in

2.2  Uninstalling the Huawei vROps Plug-in

  - Installing the Huawei vROps Plug-in

            - Download the Huawei vROps plug-in installation package of the latest version from the GitHub website, for example, HuaweieSightManagementPack_X.X.X.pak.

On the vRealize Operations Manager WebUI, select Administration.

The Administration page is displayed.

In the navigation tree, choose Solutions.

The Solutions page is displayed.

Click .

The Add Solution dialog box is displayed.

Click BROWSE, and select the plug-in installation file, as shown in Figure 2-1.

Select Install the PAK file even if it is already installed., as shown in Figure 2-1.

Click UPLOAD, and upload the installation file, as shown in Figure 2-1.

Selecting a solution

Click NEXT.

The Confirmation dialog box is displayed.

Click Yes.

The End User License Agreement page is displayed.

Select I accept the terms of this agreement, and click NEXT.

The Install page is displayed.

After the installation is complete, click FINISH.

On the Solutions page, view the installed Huawei vROps plug-in.

----End

Uninstalling the Huawei vROps Plug-in

            - On the vRealize Operations Manager WebUI, select Administration.

The Administration page is displayed.

In the navigation tree, choose Solutions.

The Solutions page is displayed.

Select the Huawei vROps plug-in, and click , as shown in Figure 2-2.

Uninstalling the Huawei vROps plug-in

The Warning dialog box is displayed.

The uninstallation of the Huawei vROps plug-in is supported only on vRealize Operations Manager 6.2 and vRealize Operations Manager 6.6. This function is not supported on vRealize Operations Manager of other versions currently.

Select I understand the risk and agree., and click OK.

The Huawei vROps plug-in is uninstalled.

----End

Configuring an eSight Instance

3.1  Adding an eSight Instance

3.2  Modifying an eSight Instance

3.3  Deleting an eSight Instance

  - Adding an eSight Instance

            - Set a whitelist.

By default, a whitelist of eSight northbound ports is configured. To add an eSight system properly, you must add the IP address of the server where vROps is located to the whitelist of eSight northbound ports.

- Log in to the eSight WebUI.

- Choose System > Northbound Integration > Third-party System > Create.

The Third-party System page is displayed, as shown in Figure 3-1.

Third-party System

- Set the following parameters:

IP address: Set this parameter to the IP address of the vROps server.

Protocol type: Select HTTPS and deselect other protocols.

System ID: Retain the default value or enter a new value. The value can be an IP address or a string of 1 to 64 characters, including digits (0-9), lowercase letters (a-z), uppercase letters (A-Z), and special characters @_- (), .^$~`!.

- Click OK.

The IP address of the vROps server is set as a whitelist, as shown in Figure 3-2.

Set successfully

On the vRealize Operations Manager WebUI, select Administration.

The Administration page is displayed.

In the navigation tree, choose Solutions.

The Solutions page is displayed.

Select the Huawei vROps plug-in, and click .

The Manage Solution - Huawei Server Management dialog box is displayed.

In the Instance Settings area, set the following parameters, as shown in Figure 3-3.

Instance settings

Display Name: Set this parameter to a customized name. This parameter is used to identify the eSight instance.

Description: Set this parameter to customized description, which provides supplementary information for the eSight instance.

Server IP: Enter the eSight IP address.

Server port: eSight port number, which is 32102 by default.

In the Credential row, click .

The Manage Credential dialog box is displayed.

Set the following parameters, and click OK, as shown in Figure 3-4.

Manage Credential

Credential name: user-defined name to identify different credentials

Username: username of the eSight open API to be added. The default username is openApiUser.

Password: password of the eSight OpenAPI to be added. The default password is Changeme_123.

Click TEST CONNECTION.

If the connection is successful, the dialog box indicating a successful test is displayed.

If the connection fails, check whether the eSight IP address, port number, user name, and password are correct.

If no, change the parameter values, and click TEST CONNECTION again.

If yes, contact Huawei technical support.

Click SAVE SETTINGS to save the eSight configuration information.

A dialog box is displayed, indicating that the configuration information is saved successfully.

Click OK.

The eSight instance is added.

Click CLOSE.

On the Solutions page, view the data collection status of the eSight instance.

----End

Modifying an eSight Instance

            - On the vRealize Operations Manager WebUI, select Administration.

The Administration page is displayed.

In the navigation tree, choose Solutions.

The Solutions page is displayed.

Select the Huawei vROps plug-in, and click .

The Manage Solution - Huawei Server Management dialog box is displayed.

In the navigation tree, select the name of the eSight instance to be modified, and determine whether to modify Basic Settings of the instance, as shown in Figure 3-5.

Modifying an eSight instance

If yes, perform Step 5 to Step 6.

If no, go to Step 7.

Modify the following parameters, as shown in Figure 3-5.

Display Name: Change the instance name.

Description: Change the instance description.

Server IP: Change the eSight IP address.

Server port: Change the eSight port number.

Credential: Click , and change the credential name, eSight user name, and password.

After an eSight instance is accessed, if the eSight port number, user name, or password is changed, you must synchronize the new port number, user name, or password to the vRealize Operations Manager system; otherwise, server management will be affected.

Click TEST CONNECTION.

If the connection is successful, the dialog box indicating a successful test is displayed.

If the connection fails, check whether the eSight IP address, port number, user name, and password are correct.

If no, change the parameter values, and click TEST CONNECTION again.

If yes, contact Huawei technical support.

Then go to Step 8.

Modify the following parameters, as shown in Figure 3-6.

Instance settings

Display Name: Change the instance name.

Description: Change the instance description.

Click SAVE SETTINGS to save the eSight configuration information.

A dialog box is displayed, indicating that the configuration information is saved successfully.

Click OK.

The eSight instance is modified.

Click CLOSE.

On the Solutions page, view the data collection status of the modified eSight instance, as shown in Figure 3-7.

Collecting data

----End

Deleting an eSight Instance

            - On the vRealize Operations Manager WebUI, select Administration.

The Administration page is displayed.

In the navigation tree, choose Solutions.

The Solutions page is displayed.

Select the Huawei vROps plug-in, and click .

The Manage Solution - Huawei Server Management dialog box is displayed.

In the navigation tree, select the name of the eSight instance to be deleted, and click , as shown in Figure 3-8.

Deleting an eSight instance

The Confirmation dialog box is displayed.

Select Remove related objects. (which is selected by default), and click YES.

The eSight instance is deleted.

----End

Querying Server Information

4.1  Querying the Server List

4.2  Querying Component Information

4.3  Adding a Component View

4.4  Locating Alert Information

  - Querying the Server List

            - On the vRealize Operations Manager WebUI, select Environment.

The Environment page is displayed.

In the navigation tree, choose Huawei Server Management > Device Inventory tree.

The Device Inventory tree page is displayed.

In the navigation tree, query the server list, as shown in Figure 4-1.

Device Inventory tree

1: eSight IP address

2: Server type. blade indicates a blade server, highdensity indicates a high-density server, and rack indicates a rack server.

3: Server model and iBMC IP address

4: Component group

5: A component

6: IP address and slot number of a management module

7: Device group

8: A device

----End

Querying Component Information

            - On the vRealize Operations Manager WebUI, select Environment.

The Environment page is displayed.

In the navigation tree, choose Huawei Server Management > Device Inventory tree.

The Device Inventory tree page is displayed.

Choose eSight IP address > Server type > Server IP address > Component group > Component to be viewed, as shown in Figure 4-2.

Component information

On the Summary tab, the component running status and alarm information are displayed.

Click All Metrics.

The All Metrics tab is displayed.

Choose All Metrics > Health Status, as shown in Figure 4-3.

Health status

View the real-time status curve chart in the right pane.

----End

Adding a Component View

            - On the vRealize Operations Manager WebUI, select Environment.

The Environment page is displayed.

In the navigation tree, choose Huawei Server Management > Device Inventory tree.

The Device Inventory tree page is displayed.

Choose eSight IP address > Server type > Server IP address > Component group > Component, as shown in Figure 4-4.

Device Inventory tree

In the right pane, click Details.

The Details tab is displayed, as shown in Figure 4-5.

Details

Click .

The New View dialog box is displayed.

In Name and Description, enter the name and description of the component view to be added.

In Presentation, select List, and preview the list in the right pane, as shown in Figure 4-6.

Presentation

In Subjects, choose eSight Adapter > Component type to be added. For example, to add a component view to PS1, choose eSight Adapter > PSU.

In Data, select Metrics or Properties, double-click the attribute marked by , and view the newly added attribute in the Data area, as shown in Figure 4-7.

Data

To delete an attribute, click Remove in the Data area. For example, to delete Health Status, click Remove in the Health Status row in (3).

In Visibility, retain the default settings, and click SAVE.

On the Details tab, view the newly added component view.

Select Server IP address in Device Inventory tree, choose Details > Newly added component view in the right pane, and view all views of this type of component of the server, as shown in Figure 4-8.

View

Select Server type in Device Inventory tree, choose Details > Newly added component view in the right pane, and view all views of this type of component of this type of server, as shown in Figure 4-9.

View

Select eSight IP address in Device Inventory tree, choose Details > Newly added component view in the right pane, and view all views of this type of component of the eSight system, as shown in Figure 4-10.

View

----End

Locating Alert Information

            - On the vRealize Operations Manager WebUI, select Alerts.

The Alerts page is displayed.

In the navigation tree, choose All Alerts.

The All Alerts page is displayed.

In Group By, select Object Type.

In the alarm row of which the component is to be located, click Trigger object, as shown in Figure 4-11.

The trigger object can only be a component and cannot be a component group; otherwise, the server where the alarm is generated cannot be located.

All Alerts

The trigger object information page is displayed, as shown in Figure 4-12.

Trigger object

In the navigation tree, double-click Device Inventory tree.

The Device Inventory tree page is displayed, as shown in Figure 4-13.

Device Inventory tree

In the navigation tree, view the server to which the trigger object belongs.

----End

Querying the Huawei vROps Plug-in Version

            - On the vRealize Operations Manager WebUI, select Administration.

The Administration page is displayed.

In the navigation tree, choose Solutions.

The Solutions page is displayed.

View the current Huawei vROps plug-in version, as shown in Figure 5-1.

Solutions

----End

FAQs

6.1  Connection Test Failed When Adding an eSight

  - Connection Test Failed When Adding an eSight

Symptom

After an eSight server is added, a failure message is displayed during the connection test.

Cause

The user name or password is incorrect.

The eSight northbound interface user is locked.

A whitelist has not been set.

Solution

The user name or password is incorrect.

Enter the user name and password of the eSight northbound interface user. To view the user name and password, perform the following steps:

  - Log in to the eSight WebUI.

  - Choose System > User Management > User. The User page is displayed.

The role of the eSight northbound interface user is Open API user group, and the user name is displayed under User Name.

Viewing information about the eSight northbound interface user

  - Click  to display the dialog box for resetting the user password.

Reset Password

  - Enter a password in New password and Confirm password.

  - Click OK. The password is reset.

The eSight northbound interface user is locked.

To unlock a user, perform the following steps:

  - Log in to the eSight WebUI.

  - Choose System > User Management > User.

The User page is displayed.

  - Click  to set Status of the eSight northbound interface user to Enabled.

Unlocking a user

A whitelist has not been set.

By default, a whitelist of eSight northbound ports is configured. To add an eSight system properly, you must add the IP address of the server where vROps is located to the whitelist of eSight northbound ports.

  - Log in to the eSight WebUI.

  - Choose System > Northbound Integration > Third-party System > Create.

The Third-party System page is displayed, as shown in Figure 6-4.

Third-party System

  - Set the following parameters:

IP address: Set this parameter to the IP address of the vROps server.

Protocol type: Select HTTPS and deselect other protocols.

System ID: Retain the default value or enter a new value. The value can be an IP address or a string of 1 to 64 characters, including digits (0-9), lowercase letters (a-z), uppercase letters (A-Z), and special characters @_- (), .^$~`!.

  - Click OK.

The IP address of the vROps server is set as a whitelist, as shown in Figure 6-5.

Set successfully

Getting Help

If you encounter any problems during routine maintenance or troubleshooting, contact Huawei technical support engineers.

7.1  Collecting Fault Information

7.2  Preparing for Debugging

7.3  Using Product Documentation

7.4  Obtaining Technical Support

  - Collecting Fault Information

Before troubleshooting, obtain the following information:

Customer company and address

Contact person and telephone number

Time when the fault occurred

Detailed fault symptom

Device type and software version

Any measures taken and effects

Fault severity and expected rectification deadline

Preparing for Debugging

When you seek Huawei technical support, Huawei technical support engineers may assist you in performing some operations to further collect fault information or rectify the fault.

Before contacting technical support engineers, prepare the spare parts for boards and port modules, screwdrivers, screws, serial cables, and network cables.

Using Product Documentation

Huawei provides the documents delivered with the equipment. This document provides guidance for you to solve common problems that occur during routine maintenance or troubleshooting.

To better rectify the fault, you are advised to use the guide before contacting Huawei technical support engineers.

Obtaining Technical Support

Huawei's timely and efficient response is available from:

Local branch offices

Secondary technical support system

Telephone support

Remote support

Onsite support

Technical Support Website

Obtain technical documents at Huawei Technical Support website.

Self-Service Platform and Community

Learn more about servers and communicate with experts at:

Computing Product Information Service Platform for specific server product documentation.

Huawei Enterprise iKnow for quick learning about products.

Huawei Enterprise Support Community (Servers) for learning and discussion.

News

For notices about product life cycles, warnings, and updates, visit Support > Bulletins > Product Bulletins.

Cases

Learn about server applications at Computing Case Library.

The Computing Case Library is available only to Huawei partners and Huawei engineers.

Huawei Technical Support

If a fault persists after taking the above measures, obtain technical support in the following ways:

Contact Huawei customer service center.

Enterprise customers

Send emails to support_e@huawei.com or visit Global Service Hotline.

Carriers

Send emails to support@huawei.com or visit Global TAC Information.

Contact technical support at your local Huawei office.